**AED STEPS**

Automatic External Defibrillator

1. Turn machine on
2. Listen for voice prompts
3. Attach pad connector (if it isn’t already attached)
4. Attach pads to patient’s bare chest (look at picture on

pads for correct placement)

1. Wait for machine to analyze patient’s heart rhythm
2. Clear patient so nobody is touching the patient
3. Press shock button
4. Begin CPR